## SW Summary (2016-17) (2)
QPRC Googong SW Monitoring , Results for the 2016-17 FY
SITE 1 | [17 empty] | SITE 7
|  | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations | [5 empty] | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations
|  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean |  |  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean
Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result |  |  |  |  | Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result
Alkalinity | mg/L | 5 | 40 | 41 | 49 | 45 | 41 | 40 | 43 | 41 | 43 | 43 | 39 | 11 | 39 | 49 | 42.2727 | Alkalinity | mg/L | 5 | 45 | 46 | 50 | 43 | 44 | 45 | 44 | 46 | 46 | 48 | 41 | 11 | 41 | 50 | 45.2727
TN | mg/L | 0.05 | 0.38 | 0.56 | 0.83 | 0.49 | 0.5 | 0.59 | 0.31 | 0.5 | 0.57 | 0.51 | 0.39 | 11 | 0.31 | 0.83 | 0.51182 | TN | mg/L | 0.05 | 0.32 | 0.56 | 0.46 | 0.42 | 0.46 | 0.52 | 0.4 | 0.44 | 0.49 | 0.56 | 0.58 | 11 | 0.32 | 0.58 | 0.47364
TP | mg/L | 0.01 | <0.01 | <0.01 | <0.01 | <0.01 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 0 | 0 | 0 | #DIV/0! | TP | mg/L | 0.01 | 0.02 | <0.01 | <0.01 | <0.01 | <0.02 | 0.09 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 2 | 0.02 | 0.09 | 0.055
BOD | mg/L | 5 | [11 empty] | 0 | 0 | 0 | #DIV/0! | BOD | mg/L | 5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | 0 | 0 | 0 | #DIV/0! | bar: 2016-11-10 to 2017-09-27
TSS | mg/L | 5 | [11 empty] | 0 | 0 | 0 | #DIV/0! | TSS | mg/L | 5 | <5 | <5 | 11 | 11 | <5 | 6 | <5 | <5 | <5 | 8 | 13 | 5 | 6 | 13 | 9.8 | bar: 2016-11-10 to 2017-09-27
TDS | mg/L | 10 | 86 | 70 | 87 | 97 | 89 | 62 | 73 | 75 | 100 | 63 | 83 | 11 | 62 | 100 | 80.4545 | TDS | mg/L | 10 | 77 | 87 | 92 | 88 | 88 | 76 | 69 | 85 | 83 | 85 | 69 | 11 | 69 | 92 | 81.7273
Free Chlorine | mg/L | 0.1 | <0.1 | <0.1 | 0.2 | <0.1 | <0.1 | 0.1 | <0.1 | 0.1 | <0.1 | <0.1 | 0.1 | 4 | 0.1 | 0.2 | 0.125 | Free Chlorine | mg/L | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 2 | 0.1 | 0.1 | 0.1
Oil and Grease | mg/L | 5 | <5 | <5 | <5 | <5 | <2 | 2 | 3 | 5 | 6 | 2 | <5 | 5 | 2 | 6 | 3.6 | Oil and Grease | mg/L | 5 | <5 | <5 | <5 | <5 | <2 | <2 | <2 | 5 | <2 | 3 | <5 | 2 | 3 | 5 | 4
pH | No unit | 0 | 7.3 | 8 | 7.6 | 7.9 | 7.5 | 7.7 | 7.8 | 7.1 | 7.4 | 6.8 | 7.7 | 11 | 6.8 | 8 | 7.5273 | pH | No unit | 0 | 7.6 | 7.8 | 7.6 | 7.9 | 7.6 | 7.8 | 8 | 7.4 | 7.4 | 7.4 | 7.9 | 11 | 7.4 | 8 | 7.6727
Ammonia | mg/L | 0.01 | NS | 0.08 | 0.05 | 0.02 | 0.02 | 0.02 | 0.04 | 0.03 | 0.01 | <0.01 | 0.03 | 9 | 0.01 | 0.08 | 0.033333 | Ammonia | mg/L | 0.01 |  | 0.05 | 0.05 | 0.01 | 0.02 | 0.01 | 0.02 | 0.02 | 0.01 | 0.01 | 0.06 | 10 | 0.01 | 0.06 | 0.026
Escgherichia coli | cfu/ 100ml | 1 | 1 | 3 | 100 | 52 | 60 | 400 | 8 | 44 | <1 | 1 | 2 | 10 | 1 | 400 | 67.1 | Escgherichia coli | cfu/ 100ml | 1 | 19 | 13 | 24 | 110 | 58 | 120 | 10 | 12 | 22 | 2 | 56 | 11 | 2 | 120 | 40.5455
Thermotolerant Coliforms | cfu/ 100ml | 1 | 1 | 6 | 100 | 52 | 60 | 400 | 8 | 44 | <1 | 1 | 2 | 10 | 1 | 400 | 67.4 | Thermotolerant Coliforms | cfu/ 100ml | 1 | 19 | 19 | 24 | 110 | 58 | 120 | 10 | 12 | 22 | 2 | 56 | 11 | 2 | 120 | 41.0909
Intestical Enterococci | cfu/ 100ml | 1 | 3 | 23 | 160 | 18 | 16 | 56 | 2 | 9 | <1 | 5 | 7 | 10 | 2 | 160 | 29.9 | Intestical Enterococci | cfu/ 100ml | 1 | 8 | 17 | 100 | 33 | 37 | 140 | 11 | 4 | 9 | 18 | 17 | 11 | 4 | 140 | 35.8182
SITE 4 | [17 empty] | SITE 8
|  | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations | [5 empty] | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations
|  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean |  |  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean
Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result |  |  |  |  | Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result
Alkalinity | mg/L | 5 |  |  | 44 |  | 42 | 42 | 43 | 46 | 43 | 45 | 40 | 8 | 40 | 46 | 43.125 | Alkalinity | mg/L | 5 | 200 | 100 | 230 | 140 | 76 | 110 | 130 | 160 | 110 | 150 | 64 | 11 | 64 | 230 | 133.6364
TN | mg/L | 0.05 |  |  | 0.52 |  | 0.48 | 0.62 | 0.39 | 0.41 | 0.55 | 0.51 | 0.39 | 8 | 0.39 | 0.62 | 0.48375 | TN | mg/L | 0.05 | 0.98 | 2.5 | 1.2 | 2 | 3.1 | 1.2 | 2.2 | 1.3 | 6.4 | 2.1 | 5.3 | 11 | 0.98 | 6.4 | 2.5709
TP | mg/L | 0.01 |  |  | <0.01 |  | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 0 | 0 | 0 | #DIV/0! | TP | mg/L | 0.01 | 0.02 | 0.27 | 0.06 | <0.01 | <0.02 | 0.09 | 0.25 | 0.02 | 0.02 | 0.02 | 0.03 | 9 | 0.02 | 0.27 | 0.086667
BOD | mg/L | 5 | [11 empty] | 0 | 0 | 0 | #DIV/0! | BOD | mg/L | 5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | 0 | 0 | 0 | #DIV/0! | bar: 2017-01-18; 2017-03-20 to 2017-09-27
TSS | mg/L | 5 |  |  | <5 |  | <5 | 6 | <5 | <5 | <5 | <5 | <5 | 1 | 6 | 6 | 6 | TSS | mg/L | 5 | <5 | <5 | 9 | 24 | <5 | 120 | <5 | 12 | <5 | 17 | <5 | 5 | 9 | 120 | 36.4
TDS | mg/L | 10 |  |  | 88 |  | 63 | 77 | 67 | 86 | 68 | 69 | 71 | 8 | 63 | 88 | 73.625 | TDS | mg/L | 10 | 400 | 370 | 580 | 520 | 470 | 210 | 360 | 360 | 460 | 300 | 440 | 11 | 210 | 580 | 406.3636
Free Chlorine | mg/L | 0.1 |  |  | 0.1 |  | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 2 | 0.1 | 0.1 | 0.1 | Free Chlorine | mg/L | 0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 0.1 | 4 | 0.1 | 0.1 | 0.1
Oil and Grease | mg/L | 5 |  |  | <5 |  | <2 | 3 | <2 | 5 | <5 | 4 | <5 | 3 | 3 | 5 | 4 | Oil and Grease | mg/L | 5 | <5 | <5 | <5 | <5 | <2 | <2 | 3 | 3 | 2 | <2 | <5 | 3 | 2 | 3 | 2.6667
pH | No unit | 0 |  |  | 7.7 |  | 7.5 | 7.6 | 7.9 | 7.3 | 7.1 | 7 | 7.8 | 8 | 7 | 7.9 | 7.4875 | pH | No unit | 0 | 8.3 | 7.8 | 7.8 | 7.9 | 7.4 | 7.6 | 7.9 | 8 | 7.4 | 7.3 | 7.7 | 11 | 7.3 | 8.3 | 7.7364
Ammonia | mg/L | 0.01 |  |  | 0.04 |  | 0.02 | 0.06 | 0.03 | 0.02 | 0.02 | 0.01 | 0.09 | 8 | 0.01 | 0.09 | 0.03625 | Ammonia | mg/L | 0.01 |  | 0.05 | 0.03 | 0.03 | 0.37 | 0.02 | 0.03 | 0.02 | 2.6 | 0.07 | 0.06 | 10 | 0.02 | 2.6 | 0.328
Escgherichia coli | cfu/ 100ml | 1 |  |  | 23 |  | 64 | 600 | 7 | 6 |  | <0.1 | 2 | 6 | 2 | 600 | 117 | Escgherichia coli | cfu/ 100ml | 1 | 24 | 17 | 32 | 500 | 160 | 1300 | 80 | 9 | 3 | 8 | 4 | 11 | 3 | 1300 | 194.2727
Thermotolerant Coliforms | cfu/ 100ml | 1 |  |  | 23 |  | 64 | 600 | 7 | 6 |  | <0.1 | 2 | 6 | 2 | 600 | 117 | Thermotolerant Coliforms | cfu/ 100ml | 1 | 24 | 17 | 32 | 500 | 160 | 1300 | 80 | 9 | 3 | 9 | 4 | 11 | 3 | 1300 | 194.3636
Intestical Enterococci | cfu/ 100ml | 1 |  |  | 48 |  | 20 | 370 | 8 | 1 |  | 2 | 3 | 7 | 1 | 370 | 64.5714 | Intestical Enterococci | cfu/ 100ml | 1 | 7 | 130 | 280 | 81 | 400 | 21000 | 600 | 2 | 7 | 88 | <1.0 | 10 | 2 | 21000 | 2259.5
SITE 5 | [17 empty] | SITE 9
|  | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations | [5 empty] | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations
|  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean |  |  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean
Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result |  |  |  |  | Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result
Alkalinity | mg/L | 5 | 50 | 53 | 46 | 47 | 46 | 50 | 47 | 46 | 46 | 49 | 250 | 11 | 46 | 250 | 66.3636 | Alkalinity | mg/L | 5 | 140 | 86 | 44 |  | 140 | 140 | 200 | 160 | 180 | 170 |  | 9 | 44 | 200 | 140
TN | mg/L | 0.05 | 0.37 | 0.55 | 0.41 | 0.83 | 0.49 | 0.54 | 0.3 | 0.38 | 0.5 | 0.61 | 0.15 | 11 | 0.15 | 0.83 | 0.46636 | TN | mg/L | 0.05 | 0.83 | 0.55 | 0.41 |  | 0.64 | 0.89 | 0.26 | 0.42 | 0.59 | 1.2 |  | 9 | 0.26 | 1.2 | 0.64333
TP | mg/L | 0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 1 | 0.01 | 0.01 | 0.01 | TP | mg/L | 0.01 | <0.01 | <0.01 | <0.01 |  | 0.06 | 0.04 | <0.02 | <0.02 | <0.02 | <0.02 |  | 2 | 0.04 | 0.06 | 0.05
BOD | mg/L | 5 | [11 empty] | 0 | 0 | 0 | #DIV/0! | BOD | mg/L | 5 | <5 | <5 | <5 |  | <5 | <5 | <5 | <5 | <5 | <5 |  | 0 | 0 | 0 | #DIV/0! | bar: 2016-11-10 to 2017-09-27
TSS | mg/L | 5 | <5 | <5 | <5 | <5 | <5 | 16 | <5 | <5 | <5 | <5 | <5 | 1 | 16 | 16 | 16 | TSS | mg/L | 5 | 15 | 13 | <5 |  | <5 | 13 | <5 | <5 | 12 | <5 |  | 4 | 12 | 15 | 13.25
TDS | mg/L | 10 | 83 | 83 | 93 | 94 | 96 | 95 | 83 | 87 | 110 | 74 | 440 | 11 | 74 | 440 | 121.6364 | TDS | mg/L | 10 | 280 | 350 | 95 |  | 530 | 300 | 470 | 450 | 410 | 370 |  | 9 | 95 | 530 | 361.6667
Free Chlorine | mg/L | 0.1 | <0.1 | <0.1 | 0.2 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 2 | 0.1 | 0.2 | 0.15 | Free Chlorine | mg/L | 0.1 | <0.1 | <0.1 | <0.1 |  | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 |  | 1 | 0.1 | 0.1 | 0.1
Oil and Grease | mg/L | 5 | <5 | <5 | <5 | <5 | <2 | <2 | <2 | 4 | <2 | <2 | <5 | 1 | 4 | 4 | 4 | Oil and Grease | mg/L | 5 | <5 | <5 | <5 |  | <2 | <2 | <2 | <2 | <2 | <2 |  | 0 | 0 | 0 | #DIV/0!
pH | No unit | 0 | 7.7 | 7.9 | 7.6 | 7.9 | 7.7 | 7.8 | 7.9 | 7.4 | 7.4 | 7.2 | 8.3 | 11 | 7.2 | 8.3 | 7.7091 | pH | No unit | 0 | 7.9 | 7.9 | 7.7 |  | 7.5 | 8.3 | 8.2 | 7.7 | 7.7 | 7.9 |  | 9 | 7.5 | 8.3 | 7.8667
Ammonia | mg/L | 0.01 | NS | 0.13 | 0.04 | 0.01 | 0.02 | 0.01 | 0.02 | 0.02 | <0.01 | <0.01 | 0.05 | 8 | 0.01 | 0.13 | 0.0375 | Ammonia | mg/L | 0.01 |  | 0.03 | <0.01 |  | 0.02 | 0.02 | <0.01 | 0.03 | <0.01 | <0.01 |  | 4 | 0.02 | 0.03 | 0.025
Escgherichia coli | cfu/ 100ml | 1 | <1.0 | 32 | 500 | 80 | 70 | 100 | 12 | 5 | 14 | 2 | 4 | 10 | 2 | 500 | 81.9 | Escgherichia coli | cfu/ 100ml | 1 | 80 | 400 | 120 |  | 1300 | 1400 | 98 | 32 | 9 | 24 |  | 9 | 9 | 1400 | 384.7778
Thermotolerant Coliforms | cfu/ 100ml | 1 | <1 | 32 | 500 | 80 | 70 | 100 | 12 | 5 | 14 | 2 | 4 | 10 | 2 | 500 | 81.9 | Thermotolerant Coliforms | cfu/ 100ml | 1 | 80 | 400 | 120 |  | 1300 | 1400 | 98 | 32 | 9 | 24 |  | 9 | 9 | 1400 | 384.7778
Intestical Enterococci | cfu/ 100ml | 1 | 2 | 51 | 460 | 57 | 120 | 330 | 16 | 6 | 8 | 9 | 14 | 11 | 2 | 460 | 97.5455 | Intestical Enterococci | cfu/ 100ml | 1 | 56 | 79 | 180 |  | 800 | 5200 | 31 | 21 | 20 | 18 |  | 9 | 18 | 5200 | 711.6667
SITE 6 | [17 empty] | SITE 10
|  | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations | [5 empty] | Sample Date | 2016-11-10 | 2016-12-22 | 2017-01-18 | 2017-02-08 | 2017-03-20 | 2017-04-10 | 2017-05-15 | 2017-06-21 | 2017-07-24 | 2017-08-08 | 2017-09-27 | calculations
|  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean |  |  | Matrix | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Water | Nsamples | min | max | mean
Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result |  |  |  |  | Analyte Name | Units | Reporting Limit | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result | Result
Alkalinity | mg/L | 5 | 42 | 44 | 58 | 43 | 43 | 44 | 44 | 46 | 45 | 46 | 40 | 11 | 40 | 58 | 45 | Alkalinity | mg/L | 5 |  |  |  |  | 210 |  | 160 | 120 | 130 | 120 | 100 | 6 | 5 | 210 | 120.7143
TN | mg/L | 0.05 | 0.4 | 0.63 | 0.41 | 0.4 | 0.47 | 0.6 | 0.34 | 0.44 | 0.49 | 0.52 | 0.57 | 11 | 0.34 | 0.63 | 0.47909 | TN | mg/L | 0.05 |  |  |  |  | 0.49 |  | 0.86 | 1.1 | 1.6 | 1.5 | 1.4 | 6 | 0.05 | 1.6 | 1
TP | mg/L | 0.01 | 0.01 | <0.01 | <0.01 | <0.01 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | <0.02 | 1 | 0.01 | 0.01 | 0.01 | TP | mg/L | 0.01 |  |  |  |  | <0.02 |  | <0.02 | <0.02 | <0.02 | <0.02 | 0.03 | 1 | 0.01 | 0.03 | 0.02
BOD | mg/L | 5 | [11 empty] | 0 | 0 | 5 | #DIV/0! | BOD | mg/L | 5 |  |  |  |  | <5 |  | <5 | <5 | <5 | <5 | <5 | 0 | 5 | 5 | 5 | bar: 2016-11-10 to 2017-09-27
TSS | mg/L | 5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | <5 | 7 | 16 | 2 | 7 | 16 | 11.5 | TSS | mg/L | 5 |  |  |  |  | <5 |  | <5 | <5 | <5 | <5 | <5 | 0 | 5 | 5 | 5
TDS | mg/L | 10 | 71 | 75 | 100 | 93 | 71 | 83 | 74 | 85 | 83 | 86 | 69 | 11 | 69 | 100 | 80.9091 | TDS | mg/L | 10 |  |  |  |  | 560 |  | 440 | 390 | 440 | 280 | 430 | 6 | 10 | 560 | 364.2857
Free Chlorine | mg/L | 0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | 0.1 | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 3 | 0.1 | 0.1 | 0.1 | Free Chlorine | mg/L | 0.1 |  |  |  |  | <0.1 |  | <0.1 | <0.1 | <0.1 | <0.1 | 0.1 | 1 | 0.1 | 0.1 | 0.1
Oil and Grease | mg/L | 5 | <5 | <5 | <5 | <5 | <2 | <2 | <2 | 5 | <2 | <2 | <5 | 1 | 5 | 5 | 5 | Oil and Grease | mg/L | 5 |  |  |  |  | 3 |  | 3 | 4 | <5 | 4 | <5 | 4 | 3 | 5 | 3.8
pH | No unit | 0 | 7.8 | 7.8 | 7.8 | 8 | 7.7 | 8 | 8 | 7.4 | 7.4 | 7.3 | 8 | 11 | 7.3 | 8 | 7.7455 | pH | No unit | 0 |  |  |  |  | 8 |  | 8.2 | 7.8 | 7.6 | 7.9 | 8.5 | 6 | 0 | 8.5 | 6.8571
Ammonia | mg/L | 0.01 | NS | 0.04 | 0.04 | 0.01 | 0.02 | <0.01 | 0.03 | 0.02 | <0.01 | 0.01 | 0.11 | 8 | 0.01 | 0.11 | 0.035 | Ammonia | mg/L | 0.01 |  |  |  |  | 0.01 |  | 0.04 | 0.02 | 0.02 | <0.01 | 0.03 | 5 | 0.01 | 0.04 | 0.021667
Escgherichia coli | cfu/ 100ml | 1 | 16 | 58 | 64 | 400 | 99 | 62 | 17 | 12 | 13 | 1 | 3 | 11 | 1 | 400 | 67.7273 | Escgherichia coli | cfu/ 100ml | 1 |  |  |  |  | 1000 |  | 55 | 2 |  | 7 | 1 | 5 | 1 | 1000 | 177.6667
Thermotolerant Coliforms | cfu/ 100ml | 1 | 16 | 58 | 64 | 400 | 99 | 62 | 17 | 12 | 13 | 1 | 3 | 11 | 1 | 400 | 67.7273 | Thermotolerant Coliforms | cfu/ 100ml | 1 |  |  |  |  | 1000 |  | 55 | 2 |  | 7 | 1 | 5 | 1 | 1000 | 177.6667
Intestical Enterococci | cfu/ 100ml | 1 | 2 | 66 | 110 | 58 | 76 | 130 | 7 | 4 | 4 | 8 | 11 | 11 | 2 | 130 | 43.2727 | Intestical Enterococci | cfu/ 100ml | 1 |  |  |  |  | 1000 |  | 54 | 2 |  | 13 | 12 | 5 | 1 | 1000 | 180.3333